## opstracker_sites
INDEX | FIELD | USE
0 | SITE_ID
1 | SITE_NAME | X
2 | AREA
3 | REGION
4 | MARKET
5 | SWITCH
6 | TYPE
7 | SITE_TYPE
8 | SITE_FUNCTION
9 | BRAND
10 | TECH_NAME
11 | ADDRESS | X
12 | CITY | X
13 | ST
14 | ZIP
15 | COUNTY | X
16 | OWNED
17 | LEC_NAME
18 | EQUIP1_HEAT_EXG
19 | EQUIP2_HEAT_EXG
20 | EQUIP3_HEAT_EXG
21 | EVM
22 | PM_SCHEDULE
23 | SOA
24 | GATE_COMBO
25 | GATE_COMBO2
26 | DIRECTION
27 | PSLC | X
28 | CLLI
29 | LATITUDE
30 | LONGITUDE
31 | POWER_COMPANY | x
32 | POWER_ACCOUNT
33 | POWER_METER | X
34 | RESTRICTION
35 | ACCEPTANCE_DATE
36 | NOB_INSTALLED
37 | GEN_STATUS | x
38 | GEN_REMAININGHOURS
39 | GEN_PORTABLE_COMPATIBLE
40 | GEN_PORTABLE_PLUG | X
41 | DC_PLANTLOAD_AMPS
42 | DC_PLANTLOAD_AMPS_UPDATEDDATE
43 | DC_PLANTLOAD_AMPS_UPDATEDBY
44 | DC_PLANTLOAD_VOLTS
45 | DC_PLANTLOAD_VOLTS_UPDATEDDATE
46 | DC_PLANTLOAD_VOLTS_UPDATEDBY
47 | NSS_SITE_ID
48 | LATITUDE_DECIMAL
49 | LONGITUDE_DECIMAL
50 | XAXIS
51 | YAXIS
52 | ZAXIS
53 | ASR_NUM
54 | CALL_SIGN
55 | SITES_NO_PM
56 | NETWORK_ID
57 | XING_ID
58 | SYSPERFENGID
59 | HASENODEB
60 | HASMICROWAVE
61 | AIRPORT_CODE_PUBLIC
62 | AIRPORT_NAME_PUBLIC
63 | AIRPORT_CODE_PRIVATE
64 | AIRPORT_NAME_PRIVATE
65 | NSS_SITE_ID_2
66 | NSS_SITE_ID_3
67 | NSS_SITE_ID_4
68 | NSS_SITE_ID_5
69 | NSS_SITE_ID_6
70 | NSS_SITE_ID_7
71 | NSS_SITE_ID_8
72 | NSS_SITE_ID_9
73 | DOM_IP_ADDR
74 | POWER_PLANT_MAKE
75 | POWER_PLANT_MODEL
76 | RECTIFIER_MAKE
77 | RECTIFIER_MODEL
78 | BREAKER_STYLE
79 | TOWER_MANAGED_BY
80 | RSTR_ISRESTRICTED
81 | RSTR_TOWERACCESS
82 | RSTR_GROUNDACCESS
83 | RSTR_COMMENTS
84 | RSTR_BIOLOGIST_NAME
85 | EMIS_ID
86 | RSTR_BIRDTYPE
87 | DC_PLANTLOAD_VOLTS_UL
88 | TOWER_MANAGER_PHONE
89 | TOWER_NOC_MONITORED
90 | SECURITY_LOCK
91 | SECURITY_LOCK_NOC_INT
92 | POWER_PHONE
93 | FIRE_DEPT_NAME
94 | FIRE_DEPT_PHONE
95 | POLICE_PHONE
96 | EMIS_SITE_HAS_GENERATOR
97 | NUM_HVACS
98 | NUM_HVACS_WITH_ECONOMIZER
99 | VSM_SITE_NAME
100 | VSM_SITE_ID
101 | ENV_ALARMS_TESTED
102 | FUELMON_INSTALLED
103 | TVSS_INSTALLED
104 | FUEL_COMPANY
105 | FUEL_ACCOUNT
106 | LAST_FUELED_DATE
107 | GEN_THRESHOLD_LIMIT
108 | GEN_THRESHOLD_TYPE
109 | GEN_THRESHOLD_INC_EM
110 | BSM
111 | ENV_ALARM_NEXT_TEST
112 | ENV_NOCC_MONITORED
113 | CONTACT_EMAIL
114 | SEC_LOCK_STATUS
115 | SEC_LOCK_STATUS_DATE
116 | TWR_LED_MAIN_STROBE
117 | TWR_LED_SIDE_LIGHTS
118 | TWR_LIGHT_CONT_MFR
119 | TWR_LIGHT_CONT_MODEL
120 | TWR_LIGHT_NOTES
121 | RFSP
122 | GRANITE_COLO_ID
123 | TWR_LIGHT_TYPE_FCC
124 | TWR_LIGHT_TYPE_VOL
125 | VZREG_FRN
126 | PM_NO_TOWERLIGHT
127 | ACCESSRESTRICTIONS
128 | SIGNAGE_BARRIERS
129 | SITE_STATUS
130 | EMIS_LASTVERIFIEDON
131 | EMIS_LASTVERIFIEDBY
132 | CD_INSPECT_1
133 | CD_INSPECT_2
134 | ENGMANAGERID
135 | FCC_ULS_TWR_TYPE
136 | TWR_LIGHT_CHAP_FCC
137 | ULS_LAST_UPDATED
138 | SEQUOIA_SITE
139 | ATC_SITE_ID
140 | OFFICEVOLTAGEHERE
141 | SMALLCELL_VENDOR
142 | ALARMS_EXT_MONITORED
143 | ALARMS_EXT_MON_BY
144 | ALARMS_EXT_MON_ID
145 | DC_PLANTLOAD_AMPS48
146 | DC_PLANTLOAD_AMPS48_UPDATEDBY
147 | DC_PLANTLOAD_AMPS48_UPDATEDDT
148 | DC_PLANTLOAD_VOLTS48
149 | DC_PLANTLOAD_VOLTS48_UL
150 | DC_PLANTLOAD_VOLTS48_UL_BY
151 | DC_PLANTLOAD_VOLTS48_UL_DATE
152 | DC_PLANTLOAD_VOLTS48_UPDATEDBY
153 | DC_PLANTLOAD_VOLTS48_UPDATEDDT
154 | TOWER_MAST_AMP
155 | MULT_CARRIER
156 | V_ZONE_NAME
157 | ALLTEL_ATC_SITE
158 | VERTICAL_SITE
159 | TWR_LIGHT_LAST_TESTED
160 | TWR_LIGHT_NEXT_TEST
161 | ANTENNA_TYPE
162 | CSR_MFG_VENDOR
163 | CSR_MODEL
164 | CSR_SOFTWARE_VERSION
165 | DARKFIBER_MFG_VENDOR
166 | DARKFIBER_MODEL
167 | DARKFIBER_SOFTWARE_VERSION
168 | HAS_1X
169 | HAS_3G
170 | HAS_CSR
171 | HAS_DARKFIBER
172 | HAS_LTE
173 | HAS_NID
174 | HUB_CRAN_SIZE
175 | IS_HUB | X
176 | IS_HUB_CRAN
177 | IS_HUB_DARKFIBER
178 | IS_HUB_MICROWAVE | X
179 | LIGHTING_TEST_PERIOD
180 | LTE_MFG_VENDOR
181 | LTE_MODEL
182 | LTE_SOFTWARE_VERSION
183 | MICROWAVE_MFG_VENDOR
184 | MICROWAVE_MODEL
185 | MICROWAVE_SOFTWARE_VERSION
186 | NID_MFG_VENDOR
187 | NID_MODEL
188 | NID_SOFTWARE_VERSION
189 | REMOTE_MONITORING | X
190 | REMOTE_MONITOR_MODEL
191 | REMOTE_MONITOR_SW_VER
192 | REMOTE_MONITOR_VENDOR
193 | SHELTER_MODEL_NUMBER
194 | SHELTER_VENDOR
195 | TWR_LIGHT_CONT_SERIAL
196 | TWR_LIGHT_MON_BY
197 | XNG_SITE_TYPE
198 | _1X_MFG_VENDOR
199 | _1X_MODEL
200 | _1X_SOFTWARE_VERSION
201 | _3G_MFG_VENDOR
202 | _3G_MODEL
203 | _3G_SOFTWARE_VERSION
204 | CLIMBING_APP_INSPECT_BY
205 | CLIMBING_APP_LAST_INSPECT
206 | CLIMBING_APP_NEXT_INSPECT
207 | DF_ACCEPTANCE_DATE
208 | DF_ACCESSRING
209 | DF_ACCESSRING_NAME
210 | DF_COMMENTS
211 | DF_CORERING
212 | DF_CORERING_NAME
213 | DF_CRAN
214 | DF_CRAN_NAME
215 | DF_IS_FIBERNODES
216 | DF_MANAGER_ID
217 | DF_SHELTER_VENDOR
218 | DF_SHELTER_VENDOR_CONTACT
219 | DF_SHELTER_VENDOR_MANAGER
220 | DF_SITE_ID
221 | DF_TECH_NAME
222 | DF_TID
223 | DF_V_ZONE_NAME
224 | TOWER_STRUCT_INSPECT_BY
225 | TOWER_STRUCT_LAST_INSPECTION
226 | TOWER_STRUCT_NEXT_INSPECTION
227 | CLIMBING_APP_CABLE_SIZE
228 | CLIMBING_APP_MAKE
229 | CLIMBING_APP_MAX_USERS
230 | CLIMBING_APP_MODEL
231 | EMIS_LASTUPDATED
232 | EMIS_NEXTVERIFICATION
233 | EMIS_VERIFICATION_ELIGIBLE
234 | TOWER_STRUCT_TERM_OVERRIDE
235 | DF_CIRCUIT_NAME
236 | DF_CIRCUIT_VENDOR
237 | DF_STATUS
238 | DF_CRAN_SPOKE_NAME
239 | NOC_TICKET_SEVERITY
240 | ANTENNA_ACCESS
241 | CATS_ID
242 | DIESEL_RESTRICTED
243 | DOORCODES
244 | HAS_FIRE_EXTINGUISHER
245 | MAN_LIFT_REQUIREMENTS
246 | TWR_LIGHT_TEST_SYSLOG
247 | IS_KGI
248 | IS_TWILIGHT
249 | KGI_ATT
250 | KGI_SPRINT
251 | KGI_TMOBILE
252 | ROOFTOP_INSPECT_2017
253 | ROOFTOP_INSPECT_2018
254 | ROOFTOP_INSPECT_2019
255 | DAS_OEM
256 | FREQ_1900_CARR_SECT_COUNT
257 | FREQ_1900_SUPPORTED
258 | FREQ_2100_CARR_SECT_COUNT
259 | FREQ_2100_SUPPORTED
260 | FREQ_700_CARR_SECT_COUNT
261 | FREQ_700_SUPPORTED
262 | FREQ_850_CARR_SECT_COUNT
263 | FREQ_850_SUPPORTED
264 | INTEGRATOR
265 | NH_CAPABLE
266 | TWR_LIGHT_VOL_REQ
267 | AIRPORT_CONTACT_PHONE
268 | FIRE_CONTACT_NOTES
269 | GAS_ACCOUNT
270 | GAS_COMPANY
271 | GAS_CONTACT_PHONE
272 | GAS_METER
273 | HVAC_CONTACT_PHONE
274 | HVAC_MAINT_VENDOR
275 | POLICE_CONTACT_NOTES
276 | POTS_ACCOUNT
277 | POTS_COMPANY
278 | POTS_CONTACT_PHONE
279 | POTS_NUMBER
280 | RFENGINEERID
281 | TELCO_CONTACT_PHONE
282 | TELCO_PROVIDER
283 | WEIGHT_CALL_VOLUME
284 | WEIGHT_DRIVE_TIME
285 | WEIGHT_EQUIPMENT
286 | WEIGHT_SITE_ACCESS
287 | WEIGHT_SITE_TYPE
288 | INTEGRATOR2
289 | INTEGRATOR2_DATE_OF_ENTRY
290 | INTEGRATOR2_DONOTUSE
291 | INTEGRATOR3
292 | INTEGRATOR3_DATE_OF_ENTRY
293 | INTEGRATOR3_DONOTUSE
294 | INTEGRATOR_DATE_OF_ENTRY
295 | INTEGRATOR_DONOTUSE
296 | FUZE_SITE_TYPE
297 | GL_BUSINESS_UNIT
298 | GL_COST_CODE
299 | GL_MARKET_CODE
300 | GL_PRODUCT_CODE
301 | FUZE_SITE_STATUS
302 | FUZE_SITE_SUBTYPE
303 | FUZE_STRUCTURE_OWNER
304 | FUZE_STRUCTURE_TYPE
305 | FUZE_STRUCT_OWNER_SITE_NAME
306 | FUZE_CATEGORY
307 | KGI_COMM_DATE_ATT
308 | KGI_COMM_DATE_OTH
309 | KGI_COMM_DATE_SPR
310 | KGI_COMM_DATE_TMO
311 | KGI_OTHER
312 | KGI_OTHER_NOTES
313 | GROUNDSKEEPING_BY_VZW
314 | HVAC_CONTROLLER_MFR
315 | HVAC_CONTROLLER_MODEL
316 | NH_BOP
317 | DAS_MGR_ID
318 | DAS_OWNER
319 | DAS_OWNER_OTHER
320 | DAS_TECH_ID
321 | POWER_METER_AUTO_READ
322 | POWER_SUBMETERED
323 | POWER_SUBMETER_NUMBER
324 | POWER_SUBMETER_PROVIDER
325 | DAS_OWNER_SITE_NAME
326 | GEN_PORTABLE_PLUG_DESC
327 | GEN_PORTABLE_PLUG_TYPE | x
328 | GO95_FIRE_ZONE_SECTOR
329 | RSTR_SELF_CERT_BY
330 | RSTR_SELF_CERT_ON
331 | STRUCTURE_HEIGHT
332 | TOTAL_HEIGHT
333 | SITE_PRIORITY
334 | SITE_PRIORITY_LOCKED
335 | SAFETY_EQUIP_LIGHT_REQUIRED
336 | SAFETY_FALL_PROT_EQUIP
337 | SAFETY_NIGHT_LIGHTING
338 | ROOFTOP_LAST_INSPECTION_BY
339 | ROOFTOP_LAST_INSPECTION_DATE
340 | ROOFTOP_NEXT_INSPECTION_DATE
341 | TWR_LIGHT_MFR_IP
342 | COVID19_RESTRICTED
343 | AREA_PRIORREORG
344 | MARKET_PRIORREORG
345 | REGION_PRIORREORG
346 | SITE_NAME_PRIORREORG
347 | SWITCH_PRIORREORG
348 | ROOT_DRIVE_CA
349 | FUZE_GAS_DIESEL_RESTR
350 | FUZE_PORT_GEN_RESTR
351 | SAFETY_DES_AREA_EQP_TYPE
352 | SAFETY_FALL_PROT_REQ
353 | SAFETY_LADDER_SCLIMB_TYPE
354 | SAFETY_LADDER_SCLIMB_TYPE_OTH
355 | SAFETY_ROOFTOP_EMP_ACCESS
356 | SAFETY_ROOFTOP_NOTES
357 | SAFETY_TRAVEL_RESTR_ANCHOR
358 | SAFETY_TRAVEL_RESTR_TYPE
359 | ECPD_ID
360 | NUM_FIRE_EXTINGUISHERS
361 | NUM_SMOKE_DETECTORS
362 | LOCUS_ID
363 | MDG_ID
364 | DONOR_GNODEBID_DUID
365 | ACCESS_24_7
366 | ACCESS_RESTRICTED_YN
367 | RFP_INCLUSIVE_GEN
368 | RFP_INCLUSIVE_HVAC
369 | COMPANY_CODE
370 | CALLOUT_ZONE
371 | DF_CALLOUT_ZONE
372 | TOWER_TYPE
373 | FUEL_VENDOR
374 | SITETECH_NAME | X
375 | SITETECH_PHONE
376 | SITETECH_ALT_PHONE
377 | SITETECH_EMAIL
378 | SITETECH_MANAGER_NAME | X
379 | SITETECH_MANAGER_PHONE
380 | SITETECH_MANAGER_ALT_PHONE
381 | SITETECH_MANAGER_EMAIL
382 | SITETECH_DIRECTOR_NAME
383 | SITETECH_DIRECTOR_PHONE
384 | SITETECH_DIRECTOR_ALT_PHONE
385 | SITETECH_DIRECTOR_EMAIL
386 | SITEMGR_NAME
387 | SITEMGR_PHONE
388 | SITEMGR_ALT_PHONE
389 | SITEMGR_EMAIL
390 | SITEDIR_NAME
391 | SITEDIR_PHONE
392 | SITEDIR_ALT_PHONE
393 | SITEDIR_EMAIL

## opstracker_generators
INDEX | FIELD | USE
0 | AREA
1 | REGION
2 | MARKET
3 | SWITCH
4 | SITE_NAME
5 | SITE_ID
6 | PSLC | x
7 | TECH_NAME
8 | TECH_EMAIL
9 | TECH_PHONE
10 | TECH_ALT_PHONE
11 | SITEMANAGER_NAME
12 | SITEDIRECTOR_NAME
13 | ADDRESS
14 | CITY
15 | ST
16 | ZIP
17 | COUNTY
18 | LATITUDE
19 | LONGITUDE
20 | DIRECTION
21 | RESTRICTION
22 | GEN_EMIS_ID
23 | GEN_STATUS | x
24 | SERIALNUM
25 | FUELMON_INSTALLED
26 | WARRANTY_TERM
27 | TVSS_INSTALLED
28 | FUEL_COMPANY_NAME
29 | FUEL_ACCOUNT
30 | LAST_FUELED_DATE
31 | OIL_LEVEL
32 | FUEL_TOTAL
33 | FUEL_TANK1
34 | FUEL_TYPE1 | x
35 | FUEL_LEVEL1
36 | TANK_TERM1
37 | FUEL_TANK2
38 | FUEL_TYPE2
39 | FUEL_LEVEL2
40 | TANK_TERM2
41 | FUEL_TANK3
42 | FUEL_TYPE3
43 | FUEL_LEVEL3
44 | TANK_TERM3
45 | FUEL_TANK4
46 | FUEL_TYPE4
47 | FUEL_LEVEL4
48 | TANK_TERM4
49 | FUEL_TANK5
50 | FUEL_TYPE5
51 | FUEL_LEVEL5
52 | TANK_TERM5
53 | FUEL_TANK6
54 | FUEL_TYPE6
55 | FUEL_LEVEL6
56 | TANK_TERM6
57 | FUEL_TANK7
58 | FUEL_TYPE7
59 | FUEL_LEVEL7
60 | TANK_TERM7
61 | FUEL_TANK8
62 | FUEL_TYPE8
63 | FUEL_LEVEL8
64 | TANK_TERM8
65 | AC_VOLTAGE
66 | AC_CURRENT
67 | REMAININGHOURS
68 | TOTALRUNTIME
69 | LASTREADING_DATE
70 | LASTREADING_BY
71 | GEN_META_LASTUPDATEDATE
72 | GEN_META_LASTUPDATEBY
73 | MANUFACTURER
74 | MODEL
75 | MODEL_GEN_TYPE
76 | GEN_SIZE
77 | FUELRATE25
78 | FUELRATE50
79 | FUELRATE75
80 | FUELRATE100
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393

## NorCal_CellInfo
INDEX | FIELD | USE
0 | PSLC | x
1 | SysId
2 | Switch
3 | ECP
4 | Cell Num
5 | PCS Num
6 | Cell Num B2B
7 | EVDO SN
8 | Vendor
9 | Market ID
10 | eNodeB | x
11 | Site In-Service Date
12 | AWS In-Service Date
13 | PCS In-Service Date
14 | Site Name
15 | Address
16 | City
17 | State
18 | County
19 | ZIP
20 | Latitude
21 | Longitude
22 | Region
23 | On Call Zone
24 | NA Engineer
25 | NA Ph Portable
26 | NA Ph Mobile
27 | NA Pager
28 | NA Manager
29 | SP Engineer
30 | SP Ph Portable
31 | SP Ph Mobile
32 | RF Engineer
33 | B2B
34 | DAS
35 | Indoor Outdoor
36 | Multi-Vendor Border
37 | Bordering Site
38 | Notes
39 | Golden Site
40 | Golden Site Reason
41 | CMA
42 | UACE
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393

## norcal_cell_info_5g
INDEX
0 | Mkt
1 | PSLC | x
2 | GNODEB | x
3 | Site
4 | Site Number
5 | Street Address
6 | City
7 | County
8 | State
9 | ZIP Code
10 | Site Comments
11 | Latitude
12 | Longitude
13 | NA Engineer
14 | NA Manager
15 | SP Engineer
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393

## PSPS_FIRE_TIER
INDEX
0 | PGE Meter Number
1 | Fire Tier | x
2 | PSPS PROB | x
3 | PSLC | x
4 | PG&E Fee Property | x
5 | Cell Site Name/MTSO
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325
326
327
328
329
330
331
332
333
334
335
336
337
338
339
340
341
342
343
344
345
346
347
348
349
350
351
352
353
354
355
356
357
358
359
360
361
362
363
364
365
366
367
368
369
370
371
372
373
374
375
376
377
378
379
380
381
382
383
384
385
386
387
388
389
390
391
392
393